Plastica Limited Risk Assessments

| Ref: |  | Activity: | EXTREME STORAGE UNIT (DSEAR) | Date of Assessment: | 08/01/14 |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | By Whom: | Richard Gay |

| Business Unit: | NAPIER ROAD | Location: | CAR PARK |
| --- | --- | --- | --- |

| Hazard | Those Exposed | Existing Control Measures | Risk Rating L/M/H | Additional Control Measures Required | Residual Risk Rating L/M/H | Action By Whom | Actioned |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Fire due to storage of adhesives & sealants, cleaning fluids. Fumes of the above, contact with ignition source. | All staff of extreme department as access to unit is limited to them. | Metal fire cabinets with correct warning labels. Minimum stock holding. Ensuring all air vents are open at all times. Safety data sheets for all stored products. Safety training. Fire extinguisher provided. Ignition sources minimal & controlled. | L L L L L L L | Regular 3 month monitoring. Regular 3 month monitoring. Ensure latest copy available. All staff up to date with DSS. Inspected annually. Any heating should be switched off if unit is left empty of staff. | L L L L L L | P Devaney | R GAY |
| Fume inhalation | As above | Use of the products stored in the extreme unit is not permitted inside the unit; recommended PPE must be used if close work is required for any length of time outside the unit. | L | Reinforce this instruction to all extreme staff. Training given to all extreme staff on induction. | L | P Devaney |  |