Fire Risk Assessment

| Fire Risk Assessment of: | Wooden Pools Area |
| --- | --- |
| Report Completed By: | Pat Devaney |
| Date: | 8th January 2014 |

Introduction

I have reviewed the previous Fire Risk Assessment on the above area, on the above date, and I draw your attention to the results detailed below.

This part of the factory was built in 1984 consisting of 2 bays of the existing 4 bay factory, plus the office block. It is traditional brick and block build, with metal cladding attached to metal framework. The ground floor is reinforced concrete.

The wooden pools area is sited in bay 2 next to the fire wall and is separated from the liners department by a fire resistant plastic curtain, sealed top and bottom which has been installed for dust proofing.

The total bay measurements are 24 metres x 72 metres, the height is 6 metres to the eaves.

This bay has a double pitched roof constructed of industrial steel, powder coated, corrugated sheeting. The wooden pools area consists of approximately 50% of this bay.

Summary of significant Hazards.

1  1 Reznor gas heater hung from the roof.

2  1 gas fork lift.

3 Various cans of pressurised cleaners.

4 Some mobile electric wood tools.

5 Large electric wood cutting machinery.

6 Electric hand tools.

7 Electric power tools

8 Sawdust extraction unit (sited outside)

People Affected

All staff working in bays 1 and 2.

Preventative Measures

1 Gas heater inspected and certified annually

2 Fork lift should be taken off site in a fire situation if safe to do so

3 Store safely away from any heat source.

4 P.A. test all electric mobile tools annually.

5 Annual safety checks to be carried out

6 P.A. Test annually

7 P.A. Test annually

8 inspection by GRT Testing and Inspection annually

Protective measures

An automatic Fire Detection System should allow early warning of a fire developing and permit early intervention.

Fire extinguishers are provided to allow early intervention by trained staff.

Measures to allow Evacuation

The factory has all the required emergency lighting.

This area has sufficient fire escape doors for the number of staff working in the area.

Recommended Actions to Be Implemented by Directors

1 Check annual certification

2 Confirm this will be actioned if safe to do so.

3 Confirm correct safe storage

4 Check annual certification

5 Confirm annual safety check

6 Check annual certification

7 Check annual certification

8 Check annual certification

Recommended Timescales To Implement Aforementioned Actions.

1 One month

2 One month

3 One month

4 One month

5 One month

6 One month

7 One month

8 One month

Conclusion

The main ignition source is electricity in this area; it is tidy and well run and has no major problems.

Completed by: 	Pat Devaney

Signed: 	……………………………………………………  Date:  ………………………………….

Viewed By		Edward Campbell-Salmon

Managing Director

Signed: 	……………………………………………………  Date:  ………………………………….

Viewed By: 		Ian A Warne

Finance Director

Signed: 	……………………………………………………  Date:  ………………………………….