Fire Risk Assessment

| Fire Risk Assessment of: | Drury Lane Warehouse Rear of Scientific Optics Ltd Drury Lane TN38 9YA |
| --- | --- |
| Report Completed By: | Pat Devaney |
| Date: | 8th January 2014 |

Introduction

I have reviewed the fire risk assessment of the above premises, on the above date, and I draw your attention to the results detailed below.

This unit is to the rear of the main building and is of traditional brick and block build, it has glass windows the length of the unit front and rear. The main entrance door is through a roller shutter, with a single door fire exit to the rear of the unit. It has a double pitched roof which appears to be of industrial steel, powder coated sheeting which was installed in 1988.

The unit measures 20.7m x 15.5m. Access is via a short driveway off the main road.

Summary of significant Hazards.

One diesel fork lift.

Chemicals stored in the unit.

People Affected

All staff working in Scientific Optics.

Possibly staff in nearby factories, depending on the severity of the problem.

Possibly nearby housing estates depending on the severity of the problem.

Preventative Measures

Oxidisers and Corrosives stored separately.

Fork lift should be taken off site if safe to do so.

Protective measures

Fire extinguishers are provided to allow early intervention by trained staff.

Measures to allow Evacuation

This unit has sufficient fire escape doors for the number of staff working in it.

Recommended Actions to Be Implemented by Directors

Annual fork lift certified check to be carried out by certified mechanic.

Ensure all chemicals are stored correctly.

Recommended Timescales To Implement Aforementioned Actions.

Check certification annually.

Regular checks on correct storage.

Conclusion

This is a strong dry unit; the owners are looking at the burglar and fire alarms which are not working for the whole building. I see no major problems with this unit as a storage unit.

Completed by: 	Pat Devaney

Signed: 	……………………………………………………  Date:  ………………………………….

Viewed By		Edward Campbell-Salmon

Managing Director

Signed: 	……………………………………………………  Date:  ………………………………….

Viewed By: 		Ian A Warne

Finance Director

Signed: 	……………………………………………………  Date:  ………………………………….